# GridShield AI — Executive Summary

Predict. Protect. Optimize.

IEEE SmartSecureGrid Challenge 2026 — Proof of Concept

# The problem

Modern power grids are becoming millions of interconnected cyber-physical

devices: solar inverters, batteries, smart meters, SCADA controllers. Every

device that can be measured remotely can also be lied to. A false-data

injection that inflates consumption, a spoofed solar reading, or one hijacked

battery command can cause wrong decisions — charging at the wrong time,

importing expensive energy, or blacking out a building — long before any

human operator notices.

Utilities and campus operators today have two disconnected worlds: energy

management systems that optimize but trust all data, and security tools

that alert but do not understand energy. The missing piece is a system that

does both, in real time, and explains itself.

# Target users

Distribution & campus operators (universities, hospitals, industrial

parks, utilities with renewables and storage) who need to keep operating

through bad data, not just be told about it.

Security operations teams who need energy-aware anomaly detection with

explanations they can act on.

# The solution

GridShield AI is a working PoC: a live digital twin of a solar + battery

microgrid with six buildings, on top of which an AI layer runs a continuous

loop:

NORMAL → ATTACK → AI DETECTION → EXPLANATION → AUTOMATIC DEFENSE

→ RECONSTRUCTION → RE-OPTIMIZATION → RECOVERY

Predict — lightweight, laptop-friendly forecasters anticipate solar

production and demand one hour ahead (measured MAE ≈ 7 kW demand,

≈ 10 kW solar on 250 kW plant / ~230 kW peak campus).

Protect — a hybrid detector fuses five evidence channels (load residual,

solar residual, per-meter disagreement, isolation-forest, and a

control-plane consistency channel that catches hijacked SCADA commands).

The alert threshold is calibrated at the 99.5th percentile of clean traffic,

so the false-positive rate is ~0.5% by construction — measured 0.5%.

Optimize — an exact dynamic-programming planner + receding-horizon MPC

schedules the battery on trusted data; after an attack it re-solves within

seconds on reconstructed values.

# What happens when attacked

When the detector fires (measured detection latency: **the first 5-minute

step**), GridShield AI: identifies the likely compromised device with a

confidence score, isolates it, revokes its control session, **reconstructs

the missing data** from trusted AI forecasts and healthy neighbors, re-optimizes

the battery plan, and logs every action in an auditable incident timeline.

After eight consecutive clean steps the device is re-admitted.

Measured before/after (same attack, same seed): battery hijack exposure

cut from 25 to 5 minutes, battery deviation from the intended plan reduced

by 80%, and total effective energy cost reduced. Every attack class in the

suite (5/5) is detected, explained, contained, and recovered in the

deterministic scenario.

# Innovation & bonus areas

Digital twin with two data planes: the twin keeps true physics

separate from what SCADA sees — the same false-data illusion operators

face, reproduced safely (Digital Twin ✓).

Control-plane detection channel: most published FDI detectors watch

measurements; GridShield also verifies the battery *obeys the defender's

setpoint*, which catches control-command attacks that look harmless in

telemetry (Live cyberattack demonstration ✓).

Explainable alerts: every alert carries human-readable reasons,

channel evidence, threshold calibration, and feature attributions

(Explainable AI ✓).

Federated learning PoC: six buildings train demand models locally and

exchange only model weights (FedAvg) — converging to the centralized

baseline without sharing consumption data (Federated Learning ✓).

Honest numbers: every figure in this PoC is produced by

`scripts/run_experiments.py` on the shipped dataset; no invented results.

# Technology stack

Python 3.13 + FastAPI + WebSockets (backend), React + TypeScript + Recharts

(dashboard), NumPy/pandas/scikit-learn (AI), SQLite (audit trail), Docker

(deployment). One command per terminal to start; runs on any student laptop.

# Scalability & impact

The architecture is deliberately modular: the twin is replaceable by a real

SCADA/AMS feed (same data contract), detectors run per-feeder, and the

federated layer scales to more buildings without new data flows. For a campus

operator, the value is direct: fewer minutes of decisions made on corrupted

data, fewer avoidable imports, battery assets protected from hostile commands,

and a defensible audit trail for every automated action.

# Conclusion

GridShield AI demonstrates — live, reproducibly, and with measured results —

that AI can make a renewable microgrid not just smarter, but **trustworthy

under attack**: predicting what should happen, detecting when the data lies,

explaining why, defending automatically, and optimizing through the incident.